## Slide 1: Percutaneous Closure of the Left Atrial Appendage versus Warfarin Therapy for Prevention of Stroke in Patients with Atrial Fibrillation: A Randomized Non-Inferiority Trial
David R. Holmes, MD Vivek Y. Reddy, MD Zoltan G. Turi, MD Shephal K. Doshi, MD Horst Sievert, MD Maurice Buchbinder, MD Christopher M. Mullin Peter Sick, MD For the PROTECT AF Investigators

## Slide 2: Non-Valvular Atrial Fibrillation An EPIDEMIC
Affects 1-1.5% of population in developed world
Lifetime risk in men & women >40 is 1 in 4
Prevalence
    0.5% age 0-59
    9.0% age >80
Currently 2.5 million adults in U.S.
3000838-5
Savelieva: J Intern Med 250, 2001 Go: JAMA 285, 2001
Miyasaka: Circ 114, 2006

## Slide 3: Non-Valvular Atrial Fibrillation An EPIDEMIC
3000838-6
Mayo Clinic data (assuming a continued increase in AF incidence)
Mayo Clinic data (assuming further increase in AF incidence)
ATRIA study data (50% >80 yo)
Patients with atrial fibrillation (millions)
Year
2.08
2.26
2.44
2.66
2.94
3.33
3.8
4.34
4.78
5.16
5.42
5.61
5.1
5.6
6.1
6.8
7.5
8.4
9.4
10.3
11.1
11.7
12.1
5.1
5.9
6.7
7.7
8.9
10.2
11.7
13.1
14.3
15.2
15.9

## Slide 4: Non-Valvular Atrial Fibrillation
3000838-7
%
Percent of Total Strokes Attributable to Atrial Fibrillation
Stroke 22(18), 1991
500,000 strokes/year in U.S.
Up to 20% of ischemic strokes occur in patients with atrial fibrillation

## Slide 5: Non-Valvular Atrial Fibrillation Stroke Prevention Medical Rx
3000838-10
Cooper: Arch Int Med 166, 2006 Lip: Thromb Res 118, 2006
Warfarin cornerstone of therapy
Assuming 51 ischemic strokes/1000 pt-yr
  Adjusted standard dose warfarin prevents 28 strokes at expense of 11 fatal bleeds
  Aspirin prevents 16 strokes at expense of 6 fatal bleeds
Warfarin
  60-70% risk reduction vs no treatment
  30-40% risk reduction vs aspirin

## Slide 6: Non-Valvular Atrial Fibrillation Stroke Prevention Medical Rx
3000838-12
Warfarin Problematic
Narrow therapeutic window
  Multiple drug-drug/drug-food interactions
  Genetic variability
Long half-life
PCI issues – triple therapy
Compliance
Contraindications
Bleeding risks

## Slide 7: Non-Valvular Atrial Fibrillation Warfarin Use in AF Patients by Age
3000838-13
%
Ann Int Med 131(12), 1999

Only 55% of AF patients with no contraindications have evidence of warfarin use in previous 3 months
Other studies cite warfarin use in AF patients from 17-50%
Elderly patients with increased absolute risk least likely to be taking warfarin
Contraindications 30-40%

## Slide 8: Non-Valvular Atrial Fibrillation Adequacy of Anticoagulation in Clinic
3000838-14
%
Bungard: Pharmacotherapy 20:1060, 2001
Low INR <1.6
Therapeutic INR 2-3
High INR >3.2
Efficacy  4-fold

## Slide 9: Non-Valvular Atrial Fibrillation Stroke Pathology
3000838-15
Brass. Stroke 28(12), 1997 VanWalraven: JAMA 288, 2002
Major fatal bleed with age >75 = 3%/year (30% over 10 years)
Intracranial hemorrhage
  0.3-0.5%/100 patient-years
  3% in INR >4.0
  10% if INR >4.5

## Slide 10: Non-Valvular Atrial Fibrillation Stroke Pathology
3000838-9
Blackshear: Ann Thoracic Surg 61, 1996 Johnson: Eur J Cardiothoracic Surg 17, 2000 Fagan: Echocardiography 17, 2000
Insufficient contraction of LAA leads to stagnant blood flow
Most likely culprit: embolization of LAA clot
90% of thrombus found in LAA
TEE-based risk factors
  Enlarged LAA
  Reduced inflow and outflow velocities
  Spontaneous Echo contrast

## Slide 11: WATCHMAN® LAA Closure Technology
3000838-20

## Slide 12: PROTECT AF Clinical Trial Design
3000838-27
Prospective, randomized study of WATCHMAN LAA Device vs long-term warfarin therapy
2:1 allocation ratio device to control
800 patients enrolled from Feb 2005 to Jun 2008
  Device group (463)
  Control group (244)
  Roll-in group (93)
59 enrolling centers (U.S. & Europe)
Follow-up requirements
  TEE follow-up at 45 days, 6 months and 1 year
  Clinical follow-up biannually up to 5 years
  Regular INR monitoring while taking warfarin
Enrollment continues in Continued Access Protocol (CAP Study)

## Slide 13: Key Participation Criteria
3000838-29
Key inclusion criteria
Age 18 years or older
Documented non-valvular AF
Eligible for long-term warfarin therapy, and has no other conditions that would require long-term warfarin therapy
Calculated CHADS2 score 1
Key exclusion criteria
NYHA class IV congestive heart failure
ASD and/or atrial septal repair or closure device
Planned ablation procedure within 30 days of potential WATCHMAN Device implant
Symptomatic carotid disease
LVEF <30%
TEE criteria: suspected or known intracardiac thrombus (dense spontaneous Echo contract

## Slide 14: PROTECT AF Trial Endpoints
3000838-28
Primary efficacy endpoint
All stroke: ischemic or hemorrhagic
  Deficit with symptoms persisting more than 24 hours or
  Symptoms less than 24 hours confirmed by CT or MRI
Cardiovascular and unexplained death: includes sudden death, MI, CVA, cardiac arrhythmia and heart failure
Systemic embolization
Primary safety endpoint
Device embolization requiring retrieval
Pericardial effusion requiring intervention
Cranial bleeds and gastrointestinal bleeds
Any bleed that requires 2uPRBC
Some events will be counted as both safety and efficacy endpoints

## Slide 15
Intent-to-Treat Primary Safety Results
ITT cohort: patients analyzed based on their randomly assigned group (regardless of treatment received)
Event-free probability
Days
244
143
51
11
463
261
87
19
Device
Control
3000838-61
Events Total Rate Events Total Rate RR Cohort (no.) pt-yr (95% CI) (no.) pt-yr (95% CI) (95% CI)
600 pt-yr 45 386.4 11.6 9 220.4 4.1 2.85 (8.5, 15.3) (1.9, 7.2) (1.48, 6.43)
900 pt-yr 48 554.2 8.7 13 312.0 4.2 2.08 (6.4, 11.3) (2.2, 6.7) (1.18, 4.13)
Device
Control
900 patient-year analysis
Randomization allocation (2 device:1 control)

## Slide 16: Specific Safety Endpoint Events
Pericardial effusions – largest fraction of safety events in device group
Stroke events – most serious fraction of safety events in control group
Bleeding events were also frequent
3000838-63

## Slide 17: Safety Events Pericardial Effusion
Pericardial effusions – 47% of total device events
22 classified as “serious” (4.8% of patients)
  7 required surgical intervention: extended hospitalization by 6 days
  15 treated percutaneously: extended hospitalization by 4 days
None resulted in death
3000838-69

## Slide 18: Pericardial Effusions by Experience
Throughout PROTECT AF Trial, procedural modifications and training enhancements were implemented
Procedural events would be expected to decrease over time
Pericardial effusions within 7 days of the procedure are most relevant to the device performance
No. % No. % No. %
Early patients (1-3) 13/154 8.4 12/154 7.8 10/154 6.5
Late patients (4) 27/388 7.0 24/388 6.2 17/388 4.4
Total 40/542 7.2 36/542 6.6 27/542 5.0
Site implant group (includes roll-in subjects)
Any
Any procedure/ device related
Any serious
3000838-70

## Slide 19: Effusions in Recent Implant Experience
3000838-71
Rates obtained in the CONTINUED ACCESS Study confirm that the lower rates are sustained
No. % No. % No. %
1/88 1.1 1/88 1.1 1/88 1.1
Any
Any procedure/ device related
Any serious

## Slide 20
Intent-to-Treat Primary Efficacy Results
ITT cohort: patients analyzed based on their randomly assigned group (regardless of treatment received)
Event-free probability
Days
244
147
52
12
463
270
92
22
WATCHMAN
Control
3000838-89
900 patient-year analysis
Events Total Rate Events Total Rate RR Non- Superiority Cohort (no.) pt-yr (95% CI) (no.) pt-yr (95% CI) (95% CI) inferiority
600 18 409.3 4.4 13 223.6 5.8 0.76 0.992 0.734 pt-yr (2.6, 6.7) (3.0, 9.1) (0.39, 1.67)
900 20 582.3 3.4 16 318.0 5.0 0.68 0.998 0.837 pt-yr (2.1, 5.2) (2.8, 7.6) (0.37, 1.41)
Device
Control
Posterior probabilities
Randomization allocation (2 device:1 control)

## Slide 21
Intent-to-Treat Hemorrhagic Stroke
ITT cohort: patients analyzed based on their randomly assigned group (regardless of treatment received)
Event-free probability
Days
244
147
53
12
463
275
95
23
Device
Control
3000838-103
900 patient-year analysis
Events Total Rate Events Total Rate RR Non- Superiority Cohort (no.) pt-yr (95% CI) (no.) pt-yr (95% CI) (95% CI) inferiority
600 1 416.7 0.2 4 224.7 1.8 0.13 0.998 0.986 pt-yr (0.0, 0.9) (0.5, 3.9) (0.00, 0.80)
900 1 593.6 0.2 6 319.4 1.9 0.09 >0.999 0.998 pt-yr (0.0, 0.6) (0.7, 3.7) (0.00, 0.45)
Device
Control
Posterior probabilities
Randomization allocation (2 device:1 control)

## Slide 22
Risk/Benefit Analysis
Intent-to-treat analysis
Primary endpoint (intent to treat) achieved
Other statistically significant endpoint findings
  Noninferiority for the primary efficacy event rate – 32% lower in device group
  Noninferiority for stroke rate – 26% lower in device group
  Superiority for hemorrhagic stroke – 91% lower in device group
  Noninferiority for mortality rate – 39% lower rate in device group
Increased rate of primary safety events for the device group relative to the control group
  Most events in the device group were procedural effusions that decreased over the course of the study
  87% of patients discontinued warfarin at 45 days
  Death/disability conclusion
3000838-120

## Slide 23
Risk / Benefit Analysis
Per-protocol analysis
Superiority for the primary efficacy event rate
Approximately 86% of patients in the device group were able to be successfully implanted and discontinue warfarin therapy
Study demonstrates the role of the left atrial appendage in the pathogenesis of stroke due to AF
Based on average age, patients will experience a 56% reduction in safety events
Risk/Benefit Analysis
3000838-122

## Slide 24: Summary
Long-term warfarin treatment of patients with AF has been found effective, but presents difficulties and risk
PROTECT AF trial was a randomized, controlled, statistically valid study to evaluate the WATCHMAN device compared to warfarin
In PROTECT AF, hemorrhagic stroke risk is significantly lower with the device.
  When hemorrhage occurred, risk of death was markedly increased
In PROTECT AF, all cause stroke and all cause mortality risk are equivalent to that with warfarin
In PROTECT AF, there are early safety events, specifically pericardial effusion; hese events have decreased over time
3000838-123

## Slide 25: Conclusion
The WATCHMAN LAA Technology offers a safe and effective alternative to warfarin in patients with non-valvular atrial fibrillation at risk for stroke and who are eligible for warfarin therapy
3000838-124